## Installed_Cost_Access
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
Fire Alarm and Security - New and Existing Buildings University of Arkansas Campus
Fayetteville, Arkansas
Summary of Installation and Component Costs for Building Access Control Components
The line item cost MUST INCLUDE ALL product materials, labor, installation (including engineering, shop drawings, and start-up assistance), and testing. Sales Tax is not applicable for this pricing.
I1. Standard System Componets for New/Renovated Buildings
| Item Description | Model Proposed by Vendor (If Different) | INSTALLED Component Cost (each) | Quantity for Comparison | Total Installed Cost for Theoretical Quantity
Minimum Equipment for Price Comparisons | Intelligent Single Door Conroller (LNL-X2210) |  |  | 2 | 0
| Intelligent Dual Door Controller (Lenel LNL-X2220) |  |  | 2 | 0
| Input Control Module (Lenel LNL-1100-S3) |  |  | 5 | 0
| Output Control Module (Lenel LNL-1200-S3) |  |  | 5 | 0
| Lantronix EDS1100 Serial Server (ED1100002-01) |  |  | 1 | 0
| Single Reader Interface (Lenel LNL-1300-S3) |  |  | 2 | 0
| Lenel LNL-1320 Dual Reader Interface (Lenel LNL-1320-S3) |  |  | 40 | 0
| MultiClass Card Reader SE RP40 (HID 920PTNNEK) |  |  | 40 | 0
| MultiClass Card Reader SE RMP40 (HID RMP40 6223C PROX and Insert Reader) |  |  | 40 | 0
| MultiClass Card Reader (HID Thin-Line II Prox) |  |  | 40 | 0
| BlueDiamond Multi-Tech US Single Gang (LENEL) |  |  | 40 | 0
| Electric Strike (ASSA ABLOY HES 8500C-630-LBM) |  |  | 40 | 0
| Single Mag-locks ( SDC 1511VBL) |  |  | 40 | 0
| Single Mag-lock (DynaLock 2011 with HSM) |  |  | 40 | 0
| Double Mag-locks (SDC 1512VBL) |  |  | 40 | 0
| Double Mag-locks (DynaLock 2022 with HSM2) |  |  | 40 | 0
| Touch Sense Bar TSB-3 |  |  | 40 | 0
| Electric Mortise Lock (Onity Integra ONTKTDLM626-L or R) |  |  | 40 | 0
| Electric Mortise Lock (Corbin Russwin, Model: ML20906 with M92 & M105 Options) |  |  | 40 | 0
| Electrolynx Power Transfer Hinge (McKinney, Model: QC8) |  |  | 40 | 0
| Electrolynx Retrofit Cable, 6 Inch (McKinney, Model: QC-C006P) |  |  | 40 | 0
| Electrolynx Retrofit Cable, 44 Inch (McKinney, Model: QC-C306) |  |  | 40 | 0
| Armored Door Cord (Securitron, Model: TSD-C) |  |  | 40 | 0
| Motion Sensor (DS160 REX) |  |  | 40 | 0
| Key Override For Lock Shop (SDC 704-L2) |  |  | 1 | 0
| Mortise Keyswitch (Securitron, Model: MK) |  |  | 40 | 0
| Door Prop Alarm Voice Prompt (DSI ES4600-K1 and Spectralert BK-MHW Horn) |  |  | 20 | 0
| System Sensor SpectrAlert® Advance MHW Door Prop Alarm; Model: MHW |  |  | 20 | 0
| Exit Push Button (Dortonics W5286-P23DA ) |  |  | 40 | 0
| Exit Push Button, Pneumatic; Alarm Controls Brand, Model: TS-14 |  |  | 40 | 0
| Door Position Sensor (1078M) |  |  | 40 | 0
| Power Supplies (ALTRONIX AL600ULACM) |  |  | 10 | 0
| Access Control 18/8 AWG Conductor Power (FT) |  |  | 1000 | 0
| Acess Control 22/4 AWG Conductor (FT) |  |  | 1000 | 0
| Composite Access Control Cable (Comparable to Paige, Part# 454932AYW) (FT) |  |  | 1000 | 0
| Cat6A Network Cable (FT) |  |  | 1000 | 0
| Proximity Printed ID Card |  |  | 1000 | 0
| Proximity Key Fob |  |  | 1000 | 0
| Subtotal (Report on Line I1 of Proposal Form) |  |  |  | 0

## Installed_Cost_Security
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
Fire Alarm and Security - New and Existing Buildings University of Arkansas Campus
Fayetteville, Arkansas
Summary of Installation and Component Costs for Building Security Components
The line item cost MUST INCLUDE ALL product materials, labor, installation (including engineering, shop drawings, and start-up assistance), and testing. Sales Tax is not applicable for this pricing.
I2. Standard System Componets for New/Renovated Buildings
| Item Description | Model Proposed by Vendor (If Different) | INSTALLED Component Cost (each) | Quantity for Comparison | Total Installed Cost for Theoretical Quantity
Minimum Equipment for Price Comparisons | Recessed Mag Lock (1125-N) |  |  | 40 | 0
| Overhead Mag contact (2315) |  |  | 40 | 0
| Indoor Surface Mount Siren (DT-24) |  |  | 40 | 0
| Outdoor Surface Mount Siren (DT-50) |  |  | 5 | 0
| Power Supplies |  |  | 1 | 0
| DSC PowerSeries Neo Panel Kit, Model: HS32-119CP01 |  |  | 2 | 0
| DSX PowerSeries Neo Full Message Keypad, Model: HS2LCD |  |  | 2 | 0
| DSC PowerG Wireless Repeater, Model: PG9920 |  |  | 2 | 0
| DSC PowerG Wireless Door/Window Contact w/Aux Input, Model: PG9945 |  |  | 40 | 0
| DSC PowerG Wireless Panic Key, Model: PG9938 |  |  | 40 | 0
| DSC PowerG Wireless Dual Tech (PIR & MW) Motion Detector, Model: PG9984P |  |  | 40 | 0
| DSC PowerG Wireless Glass Break Detector, Model: PG9922 |  |  | 40 | 0
| DSC PowerG Wireless 360° Ceilingmount PIR Detector, Model: PG9862 |  |  | 40 | 0
| DSC Cabinet Lock, Model: L-1 |  |  | 1 | 0
| Security 18 AWG Conductor Power (FT) |  |  | 1000 | 0
| Security 22/4 AWG Conductor (FT) |  |  | 1000 | 0
| Subtotal (Report on Line I2 of Proposal Form) |  |  |  | 0

## Installed_Cost_Fire
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
Fire Alarm and Security - New and Existing Buildings University of Arkansas Campus
Fayetteville, Arkansas
Summary of Installation and Component Costs for Fire and Life Safety Components
The line item cost MUST INCLUDE ALL product materials, labor, installation (including engineering, shop drawings, and start-up assistance), and testing. Sales Tax is not applicable for this pricing.
I3. Standard System Componets for New/Renovated Buildings
| Item Description | Model Proposed by Vendor (If Different) | INSTALLED Component Cost (each) | Quantity for Comparison | Total Installed Cost for Theoretical Quantity
Minimum Equipment for Price Comparisons | Fire Alarm Control Panel (EST-4) |  |  | 5 | 0
| Fire Alarm Control Panel (EST-3) |  |  | 5 | 0
| Fire Alarm Control Panel (EST-3X) |  |  | 5 | 0
| Fire Alarm Network Annunciator (4-2ANN) |  |  | 1 | 0
| Annunciator (4-2ANN) |  |  | 20 | 0
| Control Station with Fire Alarm Annuciation Fire Alarm Graphics Package (FireWorks) |  |  | 1 | 0
| Intelligent Optical Smoke Detector (SIGA-OSD) |  |  | 50 | 0
| Intelligent Smoke Detector (SIGA-PD) |  |  | 50 | 0
| LCD Display (EST 4-LCD) |  |  | 1 | 0
| Standard Detector Base with Trim (SIGA-SB4) |  |  | 50 | 0
| Heat detector, double contact, rate of rise/135F fixed (SIGA-HFD) |  |  | 50 | 0
| Carbon Monoxide Detector (SIGA-COD) |  |  | 20 | 0
| Duct Detector (SIGA-SD) include Housing, Addressable Smoke Detector, individual control relay, and LED test station |  |  | 20 | 0
| Flame Detector U.V. Explosion Proof with addressable module (SPECTRIX SHARPEYE 20) |  |  | 20 | 0
| Manual Pull Stations "PULL IN CASE OF FIRE" (SIGA-270) |  |  | 20 | 0
| Strobe Weatherproof (CS405-7A-T) |  |  | 10 | 0
| Speaker / Strobe must be Multi-Candela Selectable (G4S SERIES) |  |  | 10 | 0
| Speaker / Strobe Ceiling Mount must be Multi-Candela Selectable (GCS SERIES) |  |  | 20 | 0
| Relay module (SIGA-CRH) |  |  | 20 | 0
| Intelligent Addressable Input Output Modules (SIGA-CT1) |  |  | 1 | 0
| Dual Input Addressable Module (SIGA-CT2) |  |  | 20 | 0
| Single Input Signal Module (SIGA-CC1) |  |  | 1 | 0
| Synchronization Module (SIGA-CC1S) |  |  | 1 | 0
| Edwards Waterflow/Tamper Module (SIGA-WTM) |  |  | 20 | 0
| Door Holders, Surface Mount 110v/24v (1508-AQN5) |  |  | 20 | 0
| Fire Fighter Telephone Handset (6830-3) |  |  | 1 | 0
| Fire Fighter Telephone Cabinet (TCS-6) |  |  | 1 | 0
| Fire Fighter Phone 1/4" Jacks (6833-4) |  |  | 20 | 0
| 3-ZA40B Fire Alarm Amplifier 40 watt for Audio |  |  | 1 | 0
| 3-ASU/FT Audio / Fire Phone Control Center |  |  | 1 | 0
| 3-MODCOM Fire Alarm Dialer |  |  | 1 | 0
| Power Supplies (BPS10A) |  |  | 10 | 0
| Fire Alarm Plenum Cable 18/2 (FT) |  |  | 1000 | 0
| Fire Alarm Plenum Cable 16/2 (FT) |  |  | 1000 | 0
| Fire Alarm Plenum Cable 14/2 (FT) |  |  | 1000 | 0
| Subtotal (Report on Line I3 of Proposal Form) |  |  |  | 0

## Installed_Cost_Surveillance
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
Fire Alarm and Security - New and Existing Buildings University of Arkansas Campus
Fayetteville, Arkansas
Summary of Installation and Component Costs for Surveillance Components
The line item cost MUST INCLUDE ALL product materials, labor, installation (including engineering, shop drawings, and start-up assistance), and testing. Sales Tax is not applicable for this pricing.
I4. Standard System Componets for New/Renovated Buildings
| Item Description | Model Proposed by Vendor (If Different) | INSTALLED Component Cost (each) | Quantity for Comparison | Total Installed Cost for Theoretical Quantity
Minimum Equipment for Price Comparisons | Avigilon Standalone Video Appliance VMA-AS3-8P4-NA |  |  | 1 | 0
| Network Video Recorder (Avigilon NVR4-VAL-6TB-NA) |  |  | 1 | 0
| Network Video Recorder (Avigilon NVR4X-STD-24TB-S16-NA ) |  |  | 1 | 0
| Camera Licenses (Avigilon Control Center ACC7-ENT) |  |  | 1 | 0
| Network Storage Server (Avigilon NVR4-VAL-6TB-NA) |  |  | 1 | 0
| 4TB Camera Administration Workstation w/Monitor (Avigilon NVR4-WKS-4TB-NA) |  |  | 1 | 0
| Micro PTZ Indoor/Outdoor Camera (Avigilon 2 MP Micro Dome Camera 2.0C-H5SL-D1 OR 2.0C-H5SL-DO1-IR ) |  |  | 20 | 0
| Fixed Aim Indoor/Outdoor Camera (Avigilon 5 MP H.264 HD Dome Camera 5.0C-H5SL-D1 OR 5.0C-H5SL-DO1-IR) |  |  | 10 | 0
| 20x Optical Zoom PTZ Camera (Avigilon 2MP HD PTZ Dome Camera 2.0C-H54IRPTZ-DP30-WP) |  |  | 5 | 0
| KVM Switch Tray for 19" Rack |  |  | 1 | 0
| 48 Port Juniper EX series POE Ethernet Switch |  |  | 1 | 0
| 1.25 Gigabit Ethernet-Multimode Transceiver |  |  | 1 | 0
| Heavy duty Exterior Weather Proof Camera Housing |  |  | 1 | 0
| Rugged pendant-mount housing |  |  | 1 | 0
| Exterior Weather Proof Camera Housing |  |  | 20 | 0
| Exterior Weather Proof Smoked Pan Tilt Zoom Dome Housing (Avigilon PTZMH-DP-SMOK1) |  |  | 2 | 0
| Exterior Corner Adaptor for Pan Tilt Zoom (Avigilon H4-MT-CRNR1) |  |  | 2 | 0
| Clear Acrylic Dome (Avigilon H4SL-DD-CLER1) |  |  | 1 | 0
| Mirrored Dome |  |  | 2 | 0
| Polycarbonate Dome (Avigilon H4SL-DD-SMOK1) |  |  | 1 | 0
| T-Bar Support Kit |  |  | 1 | 0
| UPS |  |  | 4 | 0
| POE Injector for PTZ Cameras (POE-INJ2-95W-NA) |  |  | 20 | 0
| 4-Port Encoder (Avigilon ENC-4P-H264) |  |  | 1 | 0
| Fibre Cable (FT) |  |  | 1000 | 0
| Cat6A Network Cable (FT) |  |  | 1000 | 0
| Subtotal (Report on Line I4 of Proposal Form) |  |  |  | 0
| Total All Installed Items (sum of subtotals of I1 - I4) |  |  |  | 0

## Uninstalled Equip Bldg Acc Cntr
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
BUILDING SECURITY, FIRE ALARM, VIDEO SURVEILLANCE & ACCESS CONTROL SYSTEMS - University of Arkansas Campus
Fayetteville, Arkansas
Summary of Uninstalled Component Costs by Type
The line item cost shall NOT include labor or installation. Do NOT include costs of any materials not as a part of the manufacturer's original packaging. Sales Tax is not applicable for this pricing.
| Component and Model Number | Model Proposed by Vendor (If Different) | List Price | Discounted UA Price | Quantity | Total UNINSTALLED Component Cost
U1. Building Access Control | Intelligent Single Door Conroller (LNL-X2210) |  |  |  | 1 | 0
| Intelligent Dual Door Controller (Lenel LNL-X2220) |  |  |  | 1 | 0
| Input Control Module (Lenel LNL-1100-S3) |  |  |  | 1 | 0
| Output Control Module (Lenel LNL-1200-S3) |  |  |  | 1 | 0
| Lantronix EDS1100 Serial Server (ED1100002-01) |  |  |  | 1 | 0
| Single Reader Interface (Lenel LNL-1300-S3) |  |  |  | 1 | 0
| Lenel LNL-1320 Dual Reader Interface (Lenel LNL-1320-S3) |  |  |  | 1 | 0
| MultiClass Card Reader SE RP40 (HID 920PTNNEK) |  |  |  | 1 | 0
| MultiClass Card Reader SE RMP40 (HID RMP40 6223C PROX and Insert Reader) |  |  |  | 1 | 0
| MultiClass Card Reader (HID Thin-Line II Prox) |  |  |  | 1 | 0
| BlueDiamond Multi-Tech US Single Gang (LENEL) |  |  |  | 1 | 0
| Electric Strike (ASSA ABLOY HES 8500C-630-LBM) |  |  |  | 1 | 0
| Single Mag-locks ( SDC 1511VBL) |  |  |  | 1 | 0
| Single Mag-lock (DynaLock 2011 with HSM) |  |  |  | 1 | 0
| Double Mag-locks (SDC 1512VBL) |  |  |  | 1 | 0
| Double Mag-locks (DynaLock 2022 with HSM2) |  |  |  | 1 | 0
| Touch Sense Bar TSB-3 |  |  |  | 1 | 0
| Electric Mortise Lock (Onity Integra ONTKTDLM626-L or R) |  |  |  | 1 | 0
| Electric Mortise Lock (Corbin Russwin, Model: ML20906 with M92 & M105 Options) |  |  |  | 1 | 0
| Electrolynx Power Transfer Hinge (McKinney, Model: QC8) |  |  |  | 1 | 0
| Electrolynx Retrofit Cable, 6 Inch (McKinney, Model: QC-C006P) |  |  |  | 1 | 0
| Electrolynx Retrofit Cable, 44 Inch (McKinney, Model: QC-C306) |  |  |  | 1 | 0
| Armored Door Cord (Securitron, Model: TSD-C) |  |  |  | 1 | 0
| Motion Sensor (DS160 REX) |  |  |  | 1 | 0
| Key Override For Lock Shop (SDC 704-L2) |  |  |  | 1 | 0
| Mortise Keyswitch (Securitron, Model: MK) |  |  |  | 1 | 0
| Door Prop Alarm Voice Prompt (DSI ES4600-K1 and Spectralert BK-MHW Horn) |  |  |  | 1 | 0
| System Sensor SpectrAlert® Advance MHW Door Prop Alarm; Model: MHW |  |  |  | 1 | 0
| Exit Push Button (Dortonics W5286-P23DA ) |  |  |  | 1 | 0
| Exit Push Button, Pneumatic; Alarm Controls Brand, Model: TS-14 |  |  |  | 1 | 0
| Door Position Sensor (1078M) |  |  |  | 1 | 0
| Power Supplies (ALTRONIX AL600ULACM) |  |  |  | 1 | 0
| Access Control 18/8 AWG Conductor Power (FT) |  |  |  | 1 | 0
| Acess Control 22/4 AWG Conductor (FT) |  |  |  | 1 | 0
| Composite Access Control Cable (Comparable to Paige, Part# 454932AYW) (FT) |  |  |  | 1 | 0
| Cat6A Network Cable (FT) |  |  |  | 1 | 0
| Proximity Printed ID Card |  |  |  | 1 | 0
| Proximity Key Fob |  |  |  | 1 | 0
| Subtotal (Report on Line U1 of Proposal Form) |  |  |  |  | 0

## Uninstalled Equip Bldg Security
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
BUILDING SECURITY, FIRE ALARM, VIDEO SURVEILLANCE & ACCESS CONTROL SYSTEMS - University of Arkansas Campus
Fayetteville, Arkansas
Summary of Uninstalled Component Costs by Type
The line item cost shall NOT include labor or installation. Do NOT include costs of any materials not as a part of the manufacturer's original packaging. Sales Tax is not applicable for this pricing.
| Component and Model Number | Model Proposed by Vendor (If Different) | List Price | Discounted UA Price | Quantity | Total UNINSTALLED Component Cost
U2. Building Security | Recessed Mag Lock (1125-N) |  |  |  | 1 | 0
| Overhead Mag contact (2315) |  |  |  | 1 | 0
| Indoor Surface Mount Siren (DT-24) |  |  |  | 1 | 0
| Outdoor Surface Mount Siren (DT-50) |  |  |  | 1 | 0
| Power Supplies |  |  |  | 1 | 0
| DSC PowerSeries Neo Panel Kit, Model: HS32-119CP01 |  |  |  | 1 | 0
| DSX PowerSeries Neo Full Message Keypad, Model: HS2LCD |  |  |  | 1 | 0
| DSC PowerG Wireless Repeater, Model: PG9920 |  |  |  | 1 | 0
| DSC PowerG Wireless Door/Window Contact w/Aux Input, Model: PG9945 |  |  |  | 1 | 0
| DSC PowerG Wireless Panic Key, Model: PG9938 |  |  |  | 1 | 0
| DSC PowerG Wireless Dual Tech (PIR & MW) Motion Detector, Model: PG9984P |  |  |  | 1 | 0
| DSC PowerG Wireless Glass Break Detector, Model: PG9922 |  |  |  | 1 | 0
| DSC PowerG Wireless 360° Ceilingmount PIR Detector, Model: PG9862 |  |  |  | 1 | 0
| DSC Cabinet Lock, Model: L-1 |  |  |  | 1 | 0
| Security 18 AWG Conductor Power (FT) |  |  |  | 1 | 0
| Security 22/4 AWG Conductor (FT) |  |  |  | 1 | 0
| Subtotal (Report on Line U2 of Proposal Form) |  |  |  |  | 0

## Uninstalled Equip Fire Life Saf
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
BUILDING SECURITY, FIRE ALARM, VIDEO SURVEILLANCE & ACCESS CONTROL SYSTEMS - University of Arkansas Campus
Fayetteville, Arkansas
Summary of Uninstalled Component Costs by Type
The line item cost shall NOT include labor or installation. Do NOT include costs of any materials not as a part of the manufacturer's original packaging. Sales Tax is not applicable for this pricing.
| Component and Model Number | Model Proposed by Vendor (If Different) | List Price | Discounted UA Price | Quantity | Total UNINSTALLED Component Cost
U3. Fire and Life Safety | Fire Alarm Control Panel (EST-4) |  |  |  | 1 | 0
| Fire Alarm Control Panel (EST-3) |  |  |  | 1 | 0
| Fire Alarm Control Panel (EST-3X) |  |  |  | 1 | 0
| Fire Alarm Network Annunciator (4-2ANN) |  |  |  | 1 | 0
| Annunciator (4-2ANN) |  |  |  | 1 | 0
| Control Station with Fire Alarm Annuciation Fire Alarm Graphics Package (FireWorks) |  |  |  | 1 | 0
| Intelligent Optical Smoke Detector (SIGA-OSD) |  |  |  | 1 | 0
| Intelligent Smoke Detector (SIGA-PD) |  |  |  | 1 | 0
| LCD Display (EST 4-LCD) |  |  |  | 1 | 0
| Standard Detector Base with Trim (SIGA-SB4) |  |  |  | 1 | 0
| Heat detector, double contact, rate of rise/135F fixed (SIGA-HFD) |  |  |  | 1 | 0
| Carbon Monoxide Detector (SIGA-COD) |  |  |  | 1 | 0
| Duct Detector (SIGA-SD) include Housing, Addressable Smoke Detector, individual control relay, and LED test station |  |  |  | 1 | 0
| Flame Detector U.V. Explosion Proof with addressable module (SPECTRIX SHARPEYE 20) |  |  |  | 1 | 0
| Manual Pull Stations "PULL IN CASE OF FIRE" (SIGA-270) |  |  |  | 1 | 0
| Strobe Weatherproof (CS405-7A-T) |  |  |  | 1 | 0
| Speaker / Strobe must be Multi-Candela Selectable (G4S SERIES) |  |  |  | 1 | 0
| Speaker / Strobe Ceiling Mount must be Multi-Candela Selectable (GCS SERIES) |  |  |  | 1 | 0
| Relay module (SIGA-CRH) |  |  |  | 1 | 0
| Intelligent Addressable Input Output Modules (SIGA-CT1) |  |  |  | 1 | 0
| Dual Input Addressable Module (SIGA-CT2) |  |  |  | 1 | 0
| Single Input Signal Module (SIGA-CC1) |  |  |  | 1 | 0
| Synchronization Module (SIGA-CC1S) |  |  |  | 1 | 0
| Edwards Waterflow/Tamper Module (SIGA-WTM) |  |  |  | 1 | 0
| Door Holders, Surface Mount 110v/24v (1508-AQN5) |  |  |  | 1 | 0
| Fire Fighter Telephone Handset (6830-3) |  |  |  | 1 | 0
| Fire Fighter Telephone Cabinet (TCS-6) |  |  |  | 1 | 0
| Fire Fighter Phone 1/4" Jacks (6833-4) |  |  |  | 1 | 0
| 3-ZA40B Fire Alarm Amplifier 40 watt for Audio |  |  |  | 1 | 0
| 3-ASU/FT Audio / Fire Phone Control Center |  |  |  | 1 | 0
| 3-MODCOM Fire Alarm Dialer |  |  |  | 1 | 0
| Power Supplies (BPS10A) |  |  |  | 1 | 0
| Fire Alarm Plenum Cable 18/2 (FT) |  |  |  | 1 | 0
| Fire Alarm Plenum Cable 16/2 (FT) |  |  |  | 1 | 0
| Fire Alarm Plenum Cable 14/2 (FT) |  |  |  | 1 | 0
| Subtotal (Report on Line U3 of Proposal Form) |  |  |  |  | 0

## Uninstalled Equip Surveillance
Cost Worksheet
Indefinite Delivery Indefinite Quantity (IDIQ)
BUILDING SECURITY, FIRE ALARM, VIDEO SURVEILLANCE & ACCESS CONTROL SYSTEMS - University of Arkansas Campus
Fayetteville, Arkansas
Summary of Uninstalled Component Costs by Type
The line item cost shall NOT include labor or installation. Do NOT include costs of any materials not as a part of the manufacturer's original packaging. Sales Tax is not applicable for this pricing.
| Component and Model Number | Model Proposed by Vendor (If Different) | List Price | Discounted UA Price | Quantity | Total UNINSTALLED Component Cost
U4. Surveillance | Avigilon Standalone Video Appliance VMA-AS3-8P4-NA |  |  |  | 1 | 0
| Network Video Recorder (Avigilon NVR4-VAL-6TB-NA) |  |  |  | 1 | 0
| Network Video Recorder (Avigilon NVR4X-STD-24TB-S16-NA ) |  |  |  | 1 | 0
| Camera Licenses (Avigilon Control Center ACC7-ENT) |  |  |  | 1 | 0
| Network Storage Server (Avigilon NVR4-VAL-6TB-NA) |  |  |  | 1 | 0
| 4TB Camera Administration Workstation w/Monitor (Avigilon NVR4-WKS-4TB-NA) |  |  |  | 1 | 0
| Micro PTZ Indoor/Outdoor Camera (Avigilon 2 MP Micro Dome Camera 2.0C-H5SL-D1 OR 2.0C-H5SL-DO1-IR ) |  |  |  | 1 | 0
| Fixed Aim Indoor/Outdoor Camera (Avigilon 5 MP H.264 HD Dome Camera 5.0C-H5SL-D1 OR 5.0C-H5SL-DO1-IR) |  |  |  | 1 | 0
| 20x Optical Zoom PTZ Camera (Avigilon 2MP HD PTZ Dome Camera 2.0C-H54IRPTZ-DP30-WP) |  |  |  | 1 | 0
| KVM Switch Tray for 19" Rack |  |  |  | 1 | 0
| 48 Port Juniper EX series POE Ethernet Switch |  |  |  | 1 | 0
| 1.25 Gigabit Ethernet-Multimode Transceiver |  |  |  | 1 | 0
| Heavy duty Exterior Weather Proof Camera Housing |  |  |  | 1 | 0
| Rugged pendant-mount housing |  |  |  | 1 | 0
| Exterior Weather Proof Camera Housing |  |  |  | 1 | 0
| Exterior Weather Proof Smoked Pan Tilt Zoom Dome Housing (Avigilon PTZMH-DP-SMOK1) |  |  |  | 1 | 0
| Exterior Corner Adaptor for Pan Tilt Zoom (Avigilon H4-MT-CRNR1) |  |  |  | 1 | 0
| Clear Acrylic Dome (Avigilon H4SL-DD-CLER1) |  |  |  | 1 | 0
| Mirrored Dome |  |  |  | 1 | 0
| Polycarbonate Dome (Avigilon H4SL-DD-SMOK1) |  |  |  | 1 | 0
| T-Bar Support Kit |  |  |  | 1 | 0
| UPS |  |  |  | 1 | 0
| POE Injector for PTZ Cameras (POE-INJ2-95W-NA) |  |  |  | 1 | 0
| 4-Port Encoder (Avigilon ENC-4P-H264) |  |  |  | 1 | 0
| Fibre Cable (FT) |  |  |  | 1 | 0
| Cat6A Network Cable (FT) |  |  |  | 1 | 0
| Subtotal (Report on Line U4 of Proposal Form) |  |  |  |  | 0
| Total All Uninstalled Items (sum of subtotals of U1 - U4) |  |  |  |  | 0